## Slide 1: Dr. V.K.AJIT KUMAR PROFESSOR, DEPT. of CARDIOLOGY, SCTIMST, TRIVANDRUM
STENT CHOICE IN AMI.

## Slide 2: SCOPE
PATHOLOGY OF AMI
LYSIS vs PCI
PTCA vs STENT
VASCULAR BIOLOGY of STENTS
DES vs BMS
BVS vs DES
META ANALYSIS
MY CHOICE

## Slide 3: Pathophysiology of AMI

## Slide 4: Why is PCI better than Lysis
Reduces Stroke, Reinfarction
Reduces Mortality
Improves Patency of IRA
Reduces severity of residual stenotic lesion
Overall better LV Function

## Slide 5: AMI: PCI vs Lysis

## Slide 6: Why do we need stents in PCI?
Mechanically scaffold the IRA.
Larger lumen of vessel
Prevent abrupt closure & SCD.
Prevent late Restenosis.

## Slide 7: AMI: STENT BMS vs POBA

## Slide 8: Vascular Biology of Stent

## Slide 9: DES: THE CONCEPT

## Slide 10: Vascular Response to STENT

## Slide 11: Temporal : Vascular Response to STENT

## Slide 12: VASCULAR INJURY to DES

## Slide 13: The Stent Platform

## Slide 14: Stent Innovations

## Slide 15: DES: First Generation

## Slide 16: DES: Second generation

## Slide 17: DES: Bioabsorbable Polymer

## Slide 18: DES in AMI

## Slide 19: DES in AMI: Background
Unstable patient for complex procedures.
Highly Thrombotic environment.
Sub optimal stent implantation.
Decreased outflow of IRA & No Reflow.
Thrombus Alters Drug Kinetics.

## Slide 20: Does THROMBUS matter in MI?
Alters drug diffusivity
Alters binding
Barrier to drug orderly release
Second release platform

## Slide 21: OCT: Post Thrombus aspiration!!

## Slide 22: Problems of DES in AMI
Drug: Impairs re-endothelialisation , induces tissue factor (prothrombogenic) , impairs endothelial function.
Polymer: Hypersensitivity & Inflammatory
Procedure: Underexpansion, Malapposition, Edge dissection, slow flow.
Patient: DAPT non compliance

## Slide 23: THROMBOGENICITY of DES

## Slide 24: OCT : Endothelialisation of Stents

## Slide 25: STENT Trials in AMI

## Slide 26: STENT vs POBA in AMI

## Slide 27: Typhoon: SES vs BMS

## Slide 28: Passion Trial: PES vs BMS

## Slide 29: Early Randomized Trials: AMI

## Slide 30: HORIZONS AMI

## Slide 31: HORIZONS AMI: MACE

## Slide 32: WHO should receive DES

## Slide 33: What about Long Term & Very Long Term Stent Thrombosis?

## Slide 34: Is Stent Thrombosis a problem in AMI ?

## Slide 35: MA of First generation DES

## Slide 36: LONG TERM ST IN DES MI

## Slide 37: Very Late Stent Thrombosis
ST rates c BMS & DES similar at 1 yr 5.1 vs 4%.
Increased more with DES after the first year 1.9%/yr vs 0.6%/yr.
Higher significant VLST (p<.001) & Reinfarction.
JACC 2011

## Slide 38: New Generation Stent vs BMS

## Slide 39: EES vs BMS

## Slide 40: Pooled Analysis of New Gen DES vs BMS

## Slide 41: Mguard in AMI: Master Trial

## Slide 42: Master Trial Results

## Slide 43: Long DES vs BMS
Clinical Outcome in Long length > 28mm DES vs BMS. Singapore study.
DES 86 vs BMS 89 for STEMI
MACE rate at 1yr: 7.9% vs 2.3% DES
No difference in Mortality or Reinfarction or ST.
Lower rate of TLR 0% vs 4.9%.

## Slide 44: Meta Analysis

## Slide 45: DES vs BMS

## Slide 46: Largest MA: Bangalore

## Slide 47: Which is the best?

## Slide 48: BVS in AMI

## Slide 49: Prague Trial

## Slide 50: BVS VS EES: BVS STEMIS STUDY
Methods
290 STEMI : BVS, compared with either 290 STEMI Pts c with EES or 290 STEMI c BMS.
Results
DOCE did not differ between the BVS and EES or BMS groups either at 30 days or at 1 year (4.1% vs. 4.1%, HR: 0.99
Definite/probable BVS thrombosis rate was numerically higher either at 30 days or at 1 year (2 .4% vs. 1.4%, p = 0.948; vs. 1.7%, p = 0.825, respectively), as compared with EES or BMS.
Conclusions
At 1-year :, STEMI with BVS had similar rates of DOCE with EES or BMS, although ST clustered in early phase, was not negligible. Larger studies with longer follow-up are needed.

## Slide 51: Very Very Late events BMS

## Slide 52: Neo Atherosclerosis: BMS vs DES

## Slide 53: Plaque rupture in ISR Neoatherosclerosis

## Slide 54: CONCLUSION
Restenosis, TLR, TVR significantly less with DES.
Death MI ST similar at 1 yr.
Late and Very Late ST marginally higher after 1 year.
Newer generation Stents : ST same or less.
Data required for BVS: presently not recommended.
My choice: New Gen DES

## Slide 55: THANK YOU
.

## Slide 56
Thank You

## Slide 57: MI

## Slide 58: DEATH

## Slide 62: RESTENOSIS: POBA

## Slide 79: Newer Stents for AMI

## Slide 80: TISSUE FACTOR expression of DES